DSEAR Risk Assessment

[DISCLAIMER — DRAFT, FOR SOLICITOR REVIEW] This template is a starting point only. You are responsible for assessing the risks of your own work, and for making sure any document you produce from it is suitable and sufficient for the task, the site and the people involved. It is not health and safety advice.

For work involving flammable or explosive substances — such as LPG, petrol, solvents, flammable paints and adhesives, or combustible dusts. Hazardous area classification (zoning) must be carried out by a competent person; this template records it, it does not replace it.

# 1. Document control

| Company name |  |
| --- | --- |
| Site / location |  |
| Assessment reference |  |
| Date assessed |  |
| Assessed by (name, role) |  |
| Review date |  |

# 2. Work activity

| Activity or task |  |
| --- | --- |
| Where it takes place |  |
| Who carries it out |  |
| Others who could be affected |  |

# 3. Dangerous substances

Take flammability details from the safety data sheet (sections 2 and 9).

| Substance or product | Form (gas, liquid, dust) | Flammability (e.g. flash point) | Quantity on site | Where stored |
| --- | --- | --- | --- | --- |

# 4. Sources of ignition

| Hot work (welding, cutting, grinding, soldering) |  |
| --- | --- |
| Electrical equipment and tools |  |
| Static electricity |  |
| Hot surfaces |  |
| Smoking and naked flames |  |
| Vehicles and plant |  |

# 5. Explosive atmospheres

| Could a flammable or explosive atmosphere form? (yes / no, where) |  |
| --- | --- |
| Has the area been classified into zones by a competent person? (yes / no) |  |
| Who carried out the classification, and reference |  |
| Entry points to zoned areas marked? (yes / no) |  |

Zone definitions (Dangerous Substances and Explosive Atmospheres Regulations 2002):

| Zone | Definition |
| --- | --- |
| Zone 0 (gas, vapour, mist) | Explosive atmosphere present continuously, for long periods, or frequently |
| Zone 1 (gas, vapour, mist) | Explosive atmosphere likely to occur in normal operation occasionally |
| Zone 2 (gas, vapour, mist) | Explosive atmosphere not likely to occur in normal operation but, if it does occur, will persist for a short period only |
| Zone 20 (dust) | Explosive atmosphere present continuously, for long periods, or frequently |
| Zone 21 (dust) | Explosive atmosphere likely to occur in normal operation occasionally |
| Zone 22 (dust) | Explosive atmosphere not likely to occur in normal operation but, if it does occur, will persist for a short period only |

# 6. Risk rating

Likelihood: 1 Very unlikely · 2 Unlikely · 3 Possible · 4 Likely · 5 Very likely

Severity: 1 Negligible · 2 Minor injury · 3 Injury requiring time off · 4 Major injury · 5 Fatality

Rating bands: 1–4 Low (acceptable, monitor) · 5–12 Medium (reduce where reasonably practicable) · 15–25 High (do not start until reduced)

|  | Likelihood (1–5) | Severity (1–5) | Rating (L × S) |
| --- | --- | --- | --- |
| Before controls |  |  |  |
| After controls |  |  |  |

# 7. Control measures

| Measure | Responsible | Date in place |
| --- | --- | --- |
| Eliminate or substitute with a less hazardous substance |  |  |
| Keep quantities on site to the minimum needed |  |  |
| Ventilation to prevent build-up of vapour |  |  |
| Control ignition sources (hot work permits, suitable equipment) |  |  |
| Containers closed, labelled and stored correctly |  |  |
| Other |  |  |

# 8. Storage

| Storage location and container type |  |
| --- | --- |
| Kept away from ignition sources and incompatible substances? (yes / no) |  |
| Signage |  |

# 9. Emergency arrangements

| Spill procedure |  |
| --- | --- |
| Fire extinguishers (type and location) |  |
| Evacuation route and assembly point |  |
| Emergency contact (name, phone) |  |

# 10. Information, instruction and training

| Who | Training given | Date |
| --- | --- | --- |

# 11. Briefing record

I confirm this DSEAR assessment has been explained to me, I understand it, and I will work in line with it.

| Name | Company | Signature | Date |
| --- | --- | --- | --- |

[DISCLAIMER — DRAFT, FOR SOLICITOR REVIEW] This template is a starting point only. You are responsible for assessing the risks of your own work, and for making sure any document you produce from it is suitable and sufficient for the task, the site and the people involved. It is not health and safety advice.