Electrical Risk Assessment

[DISCLAIMER — DRAFT, FOR SOLICITOR REVIEW] This template is a starting point only. You are responsible for assessing the risks of your own work, and for making sure any document you produce from it is suitable and sufficient for the task, the site and the people involved. It is not health and safety advice.

For electrical work, and for other work on or near electrical systems and equipment. Work must be done dead unless the conditions in section 4 are all met. Only competent people may carry out electrical work.

# 1. Document control

| Company name |  |
| --- | --- |
| Site / location |  |
| Assessment reference |  |
| Date assessed |  |
| Assessed by (name, role) |  |
| Review date |  |

# 2. Work activity

| Description of the electrical work |  |
| --- | --- |
| Where it takes place |  |
| System or equipment involved |  |
| Who carries it out |  |
| Others who could be affected |  |

# 3. Competence

| Name | Qualifications and experience | Supervision (if needed) |
| --- | --- | --- |

# 4. Can the work be done dead?

Electricity at Work Regulations 1989, regulation 14: no one may work on or near a live conductor where danger may arise unless all three conditions below are met.

If any answer is “no”, the work must be done dead.

| Condition | Met? (yes / no) | Reason |
| --- | --- | --- |
| It is unreasonable in all the circumstances for it to be dead |  |  |
| It is reasonable in all the circumstances to work on or near it while it is live |  |  |
| Suitable precautions (including protective equipment where necessary) are taken to prevent injury |  |  |

# 5. Safe isolation

| Step | Action | Done by | Checked by |
| --- | --- | --- | --- |
| 1 | Identify the circuit or equipment to be worked on |  |  |
| 2 | Isolate the supply |  |  |
| 3 | Secure the isolation — lock off, attach a warning label, keep the key |  |  |
| 4 | Prove the voltage indicator works on a known live source |  |  |
| 5 | Test that the circuit or equipment is dead |  |  |
| 6 | Prove the voltage indicator again on the known live source |  |  |
| 7 | Record the lock and permit reference |  |  |

# 6. Other electrical hazards

| Hidden cables in walls, floors and ceilings |  |
| --- | --- |
| Overhead power lines |  |
| Underground cables |  |
| Portable tools and leads |  |
| Temporary supplies |  |

# 7. Risk rating

Likelihood: 1 Very unlikely · 2 Unlikely · 3 Possible · 4 Likely · 5 Very likely

Severity: 1 Negligible · 2 Minor injury · 3 Injury requiring time off · 4 Major injury · 5 Fatality

Rating bands: 1–4 Low (acceptable, monitor) · 5–12 Medium (reduce where reasonably practicable) · 15–25 High (do not start until reduced)

|  | Likelihood (1–5) | Severity (1–5) | Rating (L × S) |
| --- | --- | --- | --- |
| Before controls |  |  |  |
| After controls |  |  |  |

# 8. Control measures

| Measure | Responsible | Date in place |
| --- | --- | --- |
| Work dead with safe isolation |  |  |
| Work area barriered and signed |  |  |
| Insulated tools and suitable test equipment |  |  |
| Cable detection before drilling or digging |  |  |
| Supervision of less experienced workers |  |  |
| Other |  |  |

# 9. Test equipment

| Item | Inspection / calibration date | Suitable for the task (yes / no) |
| --- | --- | --- |

# 10. Emergency arrangements

| Electric shock procedure (isolate the supply before touching the casualty) |  |
| --- | --- |
| First aider(s) on site |  |
| Defibrillator location |  |
| Emergency contact (name, phone) |  |

# 11. Briefing record

I confirm this electrical risk assessment has been explained to me, I understand it, and I will work in line with it.

| Name | Company | Signature | Date |
| --- | --- | --- | --- |

[DISCLAIMER — DRAFT, FOR SOLICITOR REVIEW] This template is a starting point only. You are responsible for assessing the risks of your own work, and for making sure any document you produce from it is suitable and sufficient for the task, the site and the people involved. It is not health and safety advice.